# NexaTherm Pro NXT-2000 — Technical Specification

Version: 4.2  |  Product: NXT-2000  |  Status: CURRENT PRODUCT (In Production)

Confidential — For litigation use only under NDA

[TEST NOTE] This is DOC2_TechSpec.docx. It is the PRIMARY correct evidence source for the NXT-2000 (the accused product). Resolves elements 1.a (§3.1), 1.c (§6.1-6.2), 1.d (§4.1), 1.e (§5.1).

## §3.1 — Temperature Sensing System

The NexaTherm Pro incorporates a 16-element MEMS thermopile array (Model NXT-T16) for ambient temperature measurement. Key specifications:

• Sensor type: 16-element MEMS thermopile array, Model NXT-T16

• Accuracy: ±0.05°C across operating range (exceeds ±0.1°C threshold)

• Operating range: -10°C to +50°C ambient temperature

• Resolution: 0.01°C (12-bit ADC, 4x oversampling)

• Sampling rate: 1 Hz continuous, 10 Hz burst mode

• Calibration: NIST-traceable factory calibration, drift <0.01°C/year

[TEST NOTE] §3.1 resolves Element 1.a. The ±0.05°C accuracy EXCEEDS the patent claim threshold of ±0.1°C → literal infringement.

## §4.1 — Humidity Sensing System

Integrated environmental monitoring includes precision humidity measurement:

• Sensor model: NXT-H8 capacitive polymer humidity sensor

• Accuracy: ±1.5% RH at 10–90% RH operating range; ±2.0% RH full scale (10–95%)

• Resolution: 0.1% RH

• Response time: <8 seconds (63% step response)

• Temperature compensation: automatic across -5°C to +45°C

• Calibration: factory-calibrated, ISO 17025 certified laboratory

[TEST NOTE] §4.1 resolves Element 1.d (MISSING). The ±1.5% RH accuracy EXCEEDS the ±2% RH patent claim threshold → literal infringement established.

## §5.1 — Occupancy Detection — PIR Sensor

The NXT-2000 incorporates a dual-element passive infrared occupancy detection system:

• Sensor type: Dual-element pyroelectric PIR sensor (Excelitas PYQ2698)

• Detection range: 8 meters (maximum, at 20°C ambient)

• Field of view: 120° horizontal × 90° vertical

• Sensitivity zones: 16 detection zones (4×4 matrix)

• Response time: <500ms first detection

• Operating temperature: -10°C to +45°C

• NOTE: This specification is for the NXT-2000 (current product). The legacy NXT-1000 had a 3-meter range — this is a DIFFERENT product.

[TEST NOTE] §5.1 resolves Element 1.e CONFLICT. NXT-2000 PIR range = 8 METERS → satisfies ≥5m patent claim → literal infringement. (DOC5 shows 3m for the NXT-1000 — wrong product.)

## §6.1 — Machine Learning Engine Architecture

The NexaTherm Pro NXT-2000 incorporates an on-device machine learning inference engine:

• Framework: TensorFlow Lite for Microcontrollers (TFLM) v2.8.0

• Model architecture: 2-layer Long Short-Term Memory (LSTM) network

• Hidden units: 64 per layer (layer 1), 32 per layer (layer 2)

• Input features: timestamped occupancy events, user setpoint adjustments, schedule overrides

• Training data: 90-day rolling window of historical occupancy patterns

• Model size: 42KB (int8 quantized for edge deployment)

• Inference latency: <50ms per prediction cycle

## §6.2 — Occupancy Learning and Prediction

Behavioural pattern learning specifics:

• Data collected: occupancy start/end events with timestamps, day-of-week, user manual adjustments

• Prediction horizon: 30 minutes ahead

• Model retraining: weekly incremental update, full retrain every 90 days

• Privacy: all ML processing performed on-device, no data transmitted externally

[TEST NOTE] §6.1-6.2 resolves Element 1.c. The LSTM architecture trained on 90-day occupancy history directly satisfies "ML inference engine trained on historical occupancy data and user behavioural patterns."